## Slide 1: Low-carbon materials in construction
Why materials matter: 40% of built-environment CO2
Main categories
Prerequisite: decarbonization intro
Notes: Materials represent around forty percent of built-environment emissions, making them a critical lever. This deck reviews the main low-carbon materials available today and their trade-offs.

## Slide 2: Cement and concrete innovations
Clinker substitution (slag, fly ash)
Limestone calcined clay (LC3)
CO2-cured concrete
Up to 60% emission reduction
Notes: Cement is the largest single source of industrial CO2. Innovations like clinker substitution and LC3 technology can cut emissions by up to sixty percent without changing construction practices.

## Slide 3: Bio-based and recycled insulation
Wood fiber, hemp, cellulose
Recycled cotton and glass wool
Lower embodied carbon
Often equal or better thermal performance
Notes: Insulation is another high-impact area where bio-based materials like wood fiber or hemp can replace oil-derived foams. They often match or exceed thermal performance while storing carbon in the building.

## Slide 4: Recycled steel and aluminum
Recycled steel: 75% less energy than virgin
Recycled aluminum: 95% less
Mature industrial supply chains
Requires end-of-life collection
Notes: Recycled metals offer dramatic savings: recycled steel uses seventy-five percent less energy than virgin, and recycled aluminum saves ninety-five percent. The challenge is organizing end-of-life collection at scale.

## Slide 5: How to specify low-carbon materials
Use EPDs (verified environmental product data)
Compare per functional unit
Check local availability
Pilot on one project first
Notes: To specify low-carbon materials, start from verified EPD data sheets and compare on a functional-unit basis. Pilot on a single project before rolling out, and always check local supply to avoid transport emissions.